## Inputs
BESS Economic Analysis - JIT Cohort Model
PROJECT BASICS
Project Name | BESS JIT Project |  | Enter project name
Project ID | JIT-001 |  | Unique identifier
Location | Substation Z |  | Site or market location
Total Capacity (MW) | 0 |  | Auto-summed from Build Schedule
Duration (hours) | 4 |  | Storage duration for each cohort
Total Energy (MWh) | 0 |  | Auto-calculated
Analysis Period (years) | 20 |  | Economic analysis horizon
Discount Rate (%) | 7% |  | Utility WACC
Ownership Type | Utility |  | Utility or Merchant
PHASED BUILD SCHEDULE
Cohort | COD (Year) | Capacity (MW) | ITC Rate (%)
Tranche 1 | 0 | 0 | 0
Tranche 2 | 0 | 0 | 0
Tranche 3 | 0 | 0 | 0
Tranche 4 | 0 | 0 | 0
Tranche 5 | 0 | 0 | 0
Tranche 6 | 0 | 0 | 0
Tranche 7 | 0 | 0 | 0
Tranche 8 | 0 | 0 | 0
Tranche 9 | 0 | 0 | 0
Tranche 10 | 0 | 0 | 0
T&D DEFERRAL
Capital Cost (K) | 100000000 |  | Upfront capital cost of the deferred asset
Time Need (t_need) | 0 |  | Year the traditional asset is needed
Deferral Period (n) | 5 |  | Number of years the asset is deferred
Growth Rate (g) | 0.02 |  | Annual growth rate of the capital cost
PV of Deferral ($) | 0 |  | Present value of the T&D deferral benefit
TECHNOLOGY SPECIFICATIONS
Chemistry | LFP |  | LFP, NMC, or Other
Round-Trip Efficiency (%) | 85% |  | AC-AC efficiency
Annual Degradation (%) | 2.5% |  | Capacity loss per year
Cycle Life | 6000 |  | Full-depth cycles before EOL
Augmentation Year | 12 |  | Year of battery replacement
Cycles per Day | 1 |  | Average daily charge/discharge cycles
COST INPUTS (BESS)
CapEx ($/kWh) | 160 | $/kWh | Installed capital cost per kWh
Fixed O&M ($/kW-year) | 25 | $/kW-yr | Annual fixed O&M
Variable O&M ($/MWh) | 0 | $/MWh | Per-MWh discharge cost
Augmentation Cost ($/kWh) | 55 | $/kWh | Battery replacement cost
Decommissioning ($/kW) | 10 | $/kW | End-of-life cost
Charging Cost ($/MWh) | 30 | $/MWh | Grid electricity cost for charging
Residual Value (%) | 10% | % | End-of-life asset value as % of CapEx
TAX CREDITS (BESS-Specific under IRA)
ITC Base Rate (%) | 30% |  | 30% Investment Tax Credit under IRA
ITC Adders (%) | 0% |  | Energy community +10%, Domestic content +10%
COST PROJECTIONS (Learning Curve)
Annual Cost Decline Rate | 12% |  | Technology learning rate (12% default)
Cost Base Year | 2024 |  | Reference year for base costs

## Results
BESS Economic Analysis Results
KEY FINANCIAL METRICS
Net Present Value (NPV) | 0 | Present value of all cash flows
T&D Deferral PV | 0 | Value from capital deferral
Total Project Value | 0 | NPV plus T&D Deferral Value

## Cash_Flows
Annual Cash Flow Projections (Cohort-Aggregated)
Year | CapEx | O&M | Charging | Total Costs | Benefits | Net CF | PV Net CF
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS | [6 empty] | 0

## Calculations
Calculation Engine (Cohort-Based)
COHORT-BASED CALCULATIONS
Total Capacity (kW) | 0 | Sum of all cohort capacities in kW
Total Energy (kWh) | 0 | Sum of all cohort energies in kWh
Total Battery CapEx ($) | 0 | Sum of CapEx for each cohort, adjusted for learning rate based on COD
Total ITC Credit ($) | 0 | Sum of ITC for each cohort based on its specific CapEx
Net Year 0 Cost ($) | 0 | Total CapEx minus Total ITC