## Inputs
BESS Economic Analysis - Project Inputs
LIBRARY SELECTION
Selected Library: | Custom
PROJECT BASICS
Project Name |  |  | Enter project name
Project ID |  |  | Unique identifier
Location |  |  | Site or market location
Capacity (MW) | 100 |  | Nameplate power capacity
Duration (hours) | 4 |  | Storage duration
Energy Capacity (MWh) | 0 |  | Auto-calculated: MW x hours
Analysis Period (years) | 20 |  | Economic analysis horizon
Discount Rate (%) | 7% |  | Nominal discount rate for NPV
Ownership Type | Utility |  | Utility (6-7% WACC) or Merchant (8-10%)
TECHNOLOGY SPECIFICATIONS
Chemistry | LFP |  | LFP, NMC, or Other
Round-Trip Efficiency (%) | 85% |  | AC-AC efficiency
Annual Degradation (%) | 2.5% |  | Capacity loss per year
Cycle Life | 6000 |  | Full-depth cycles before EOL
Augmentation Year | 12 |  | Year of battery replacement
Cycles per Day | 1 |  | Average daily charge/discharge cycles
COST INPUTS (BESS)
CapEx ($/kWh) | 160 | $/kWh | Installed capital cost per kWh
Fixed O&M ($/kW-year) | 25 | $/kW-yr | Annual fixed O&M
Variable O&M ($/MWh) | 0 | $/MWh | Per-MWh discharge cost
Augmentation Cost ($/kWh) | 55 | $/kWh | Battery replacement cost
Decommissioning ($/kW) | 10 | $/kW | End-of-life cost
Charging Cost ($/MWh) | 30 | $/MWh | Grid electricity cost for charging
Residual Value (%) | 10% | % | End-of-life asset value as % of CapEx
TAX CREDITS (BESS-Specific under IRA)
ITC Base Rate (%) | 30% |  | 30% Investment Tax Credit under IRA
ITC Adders (%) | 0% |  | Energy community +10%, Domestic content +10%
INFRASTRUCTURE COSTS (Common to all projects)
Interconnection ($/kW) | 100 | $/kW | Network upgrades, studies
Land ($/kW) | 10 | $/kW | Site acquisition/lease
Permitting ($/kW) | 15 | $/kW | Permits, environmental review
Insurance (% of CapEx) | 0.5% | % | Annual insurance cost
Property Tax (%) | 1% | % | Annual property tax rate
FINANCING STRUCTURE (For WACC Calculation)
Debt Percentage (%) | 60% |  | Debt/equity split (0.60 = 60% debt)
Interest Rate (%) | 5% |  | Annual interest rate on debt
Loan Term (years) | 15 |  | Debt amortization period
Cost of Equity (%) | 10% |  | Required return on equity
Tax Rate (%) | 21% |  | Corporate tax rate for interest deduction
Calculated WACC | 0 |  | Weighted Average Cost of Capital
BENEFIT STREAMS (Year 1 Values)
Benefit Category | $/kW-year | Escalation % | Category / Citation
Resource Adequacy | 150 | 2% | [common] CPUC RA Report 2024
Energy Arbitrage | 40 | 1.5% | [common] Market Data 2024
Ancillary Services | 15 | 1% | [common] AS Reports 2024
T&D Deferral | 25 | 2% | [common] Avoided Cost Calculator
Resilience Value | 50 | 2% | [common] LBNL ICE Calculator
Renewable Integration | 25 | 2% | [bess] NREL Grid Studies
GHG Emissions Value | 15 | 3% | [bess] EPA Social Cost Carbon
Voltage Support | 8 | 1% | [common] EPRI Distribution
COST PROJECTIONS (Learning Curve)
Annual Cost Decline Rate | 10% |  | Technology learning rate (10-15% typical)
Cost Base Year | 2024 |  | Reference year for base costs
BULK DISCOUNT (Fleet Purchases)
Bulk Discount Rate (%) | 0% |  | Discount on ALL costs when buying fleet (e.g., 0.10 = 10%)
Threshold Capacity (MWh) | 0 |  | Minimum MWh capacity to qualify for bulk discount
SPECIAL BENEFITS - Reliability (Avoided Outage Cost)
Reliability Enabled | No |  | Enter "Yes" or "No"
Outage Hours per Year | 4 |  | Expected annual outage hours avoided
Customer Cost ($/kWh) | 10 |  | Cost to customers per kWh of outage (LBNL ICE)
Backup Capacity (%) | 50% |  | Fraction of capacity available for backup
SPECIAL BENEFITS - Safety (Avoided Incident Cost)
Safety Enabled | No |  | Enter "Yes" or "No"
Incident Probability | 0.001 |  | Annual probability of grid safety incident (e.g., 0.001 = 0.1%)
Incident Cost ($) | 1000000 |  | Cost per safety incident
Risk Reduction Factor | 50% |  | Fraction of risk mitigated by BESS (e.g., 0.5 = 50%)
SPECIAL BENEFITS - Speed-to-Serve (Faster Deployment)
Speed-to-Serve Enabled | No |  | Enter "Yes" or "No" - ONE-TIME Year 1 benefit
Months Saved | 24 |  | Months faster than alternative (e.g., gas peaker)
Value per kW-Month ($) | 5 |  | Value of each month of earlier deployment per kW
GENERATE REPORTS

## Results
BESS Economic Analysis Results
PROJECT SUMMARY
Project | 0
Location | 0
Capacity | 0
Total Investment | 0
KEY FINANCIAL METRICS
Benefit-Cost Ratio (BCR) | 0 | BCR >= 1.0 indicates benefits exceed costs
Net Present Value (NPV) | 0 | Positive NPV indicates value creation
Internal Rate of Return (IRR) | 0% | Rate where NPV = 0
Simple Payback (years) | 0 | Year when cumulative CF turns positive
PV of Total Costs | 0 | Present value of all costs
PV of Total Benefits | 0 | Present value of all benefits
RECOMMENDATION
0
LEVELIZED COST OF STORAGE (LCOS)
LCOS ($/MWh) | 0 | Levelized cost per MWh discharged
BREAKEVEN ANALYSIS
Breakeven CapEx ($/kWh) | 0 | Maximum CapEx for BCR = 1.0

## Cash_Flows
Annual Cash Flow Projections
Year | CapEx | Fixed O&M | Var O&M | Charging | Insurance | Prop Tax | Augment | Decommission | Total Costs | RA | Arbitrage | Ancillary | T&D | Resilience | Renew Int | GHG | Voltage | Total Benefits | Net CF | Disc Factor | PV Costs | PV Benefits | Cumul CF
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
TOTALS | [8 empty] | 0 | [8 empty] | 0 |  |  | 0 | 0

## Calculations
Calculation Engine
DERIVED VALUES
Capacity (kW) | 0 | Convert MW to kW
Capacity (kWh) | 0 | Convert MWh to kWh
Battery CapEx ($) | 0 | CapEx/kWh x kWh
Infrastructure ($) | 0 | Interconnect+Land+Permit
Total CapEx ($) | 0 | Battery + Infrastructure
ITC Credit ($) | 0 | ITC on battery only
Net Year 0 Cost ($) | 0 | CapEx minus ITC
Annual Fixed O&M ($) | 0 | FOM/kW x kW
Annual Energy (MWh) | 0 | MWh x cycles/day x 365 x RTE
Annual Charging Cost ($) | 0 | Energy/RTE x charging cost
Residual Value ($) | 0 | CapEx x residual %
KEY FORMULAS
NPV | Sum(CFt / (1+r)^t) for t=0 to N | Brealey & Myers (2020)
BCR | PV(Benefits) / PV(Costs) | CPUC Standard Practice Manual
IRR | Rate where NPV = 0 | Brealey & Myers (2020)
LCOS | PV(Costs) / PV(Energy) | Lazard Methodology
Payback | Year where cumulative CF > 0 | Standard finance

## Sensitivity
Sensitivity Analysis - NPV & BCR Impact
These tables show how key metrics change with different CapEx and Benefit multipliers.
NET PRESENT VALUE ($) SENSITIVITY
NPV ($) | 70% Benefits | 80% Benefits | 90% Benefits | 100% Benefits | 110% Benefits | 120% Benefits | 130% Benefits
$100/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
$120/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
$140/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
$160/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
$180/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
$200/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
$220/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFIT-COST RATIO SENSITIVITY
BCR | 70% Benefits | 80% Benefits | 90% Benefits | 100% Benefits | 110% Benefits | 120% Benefits | 130% Benefits
$100/kWh | 0% | 0% | 0% | 0% | 0% | 0% | 0%
$120/kWh | 0% | 0% | 0% | 0% | 0% | 0% | 0%
$140/kWh | 0% | 0% | 0% | 0% | 0% | 0% | 0%
$160/kWh | 0% | 0% | 0% | 0% | 0% | 0% | 0%
$180/kWh | 0% | 0% | 0% | 0% | 0% | 0% | 0%
$200/kWh | 0% | 0% | 0% | 0% | 0% | 0% | 0%
$220/kWh | 0% | 0% | 0% | 0% | 0% | 0% | 0%
SINGLE VARIABLE IMPACTS
Parameter | Base Value | -20% NPV | +20% NPV
CapEx ($/kWh) | 0 | 0 | 0
Total Benefits | 0 | 0 | 0
Discount Rate | 0 | 0 | 0
Cycles per Day | 0 | 0 | 0
NOTES
• Green cells indicate BCR >= 1.5 (strong project economics)
• Yellow cells indicate BCR between 1.0-1.5 (marginal economics)
• Red cells indicate BCR < 1.0 (costs exceed benefits)
• Sensitivity tables assume proportional scaling of CapEx-related costs
• Single variable impacts show approximate NPV change for ±20% parameter change

## Methodology
Methodology & References
OVERVIEW
This workbook performs economic analysis of battery energy storage system (BESS) projects using standard discounted cash flow (DCF) methodology. All calculations follow industry-standard approaches from NREL, Lazard, and the California Public Utilities Commission (CPUC).
KEY FORMULAS
Net Present Value (NPV)
Formula: NPV = Sum(CFt / (1+r)^t) for t=0 to N
Where CFt = cash flow in year t, r = discount rate, N = analysis period
Benefit-Cost Ratio (BCR)
Formula: BCR = PV(Benefits) / PV(Costs)
BCR > 1.0 indicates project creates net value; BCR > 1.5 is strong
Internal Rate of Return (IRR)
Formula: IRR: Find r where NPV = 0
The discount rate that makes NPV equal to zero
Levelized Cost of Storage (LCOS)
Formula: LCOS = PV(Costs) / PV(Energy Discharged)
Expressed in $/MWh; enables comparison across technologies
Technology Learning Curve
Formula: Cost(year) = Cost(base) x (1 - learning_rate)^years
Battery costs decline ~10-15% annually; reduces augmentation costs
REFERENCES
[1] NREL. Annual Technology Baseline 2024. https://atb.nrel.gov/
[2] Lazard. Levelized Cost of Storage Analysis, Version 10.0. March 2025.
[3] CPUC. California Standard Practice Manual. October 2001.
[4] E3. CPUC Avoided Cost Calculator 2024.
[5] LBNL. Interruption Cost Estimate (ICE) Calculator.
[6] EPA. Social Cost of Greenhouse Gases. 2024.
[7] Brealey, Myers, Allen. Principles of Corporate Finance (13th ed.). 2020.
[8] NREL. Storage Futures Study. NREL/TP-6A20-77449. 2021.
DISCLAIMER
This model is provided for analytical purposes only. Results should be validated against independent sources before use in investment decisions. Actual project economics will vary based on site-specific conditions, market dynamics, and evolving technology costs.

## Library_Data
Assumption Library Data
Parameter | NREL ATB 2024 | Lazard LCOS 2025 | CPUC CA 2024
CapEx ($/kWh) | 160 | 145 | 155
Fixed O&M ($/kW-yr) | 25 | 22 | 26
Variable O&M ($/MWh) | 0 | 0.5 | 0
Augmentation ($/kWh) | 55 | 50 | 52
Decommissioning ($/kW) | 10 | 8 | 12
Charging Cost ($/MWh) | 30 | 35 | 25
Residual Value | 10% | 10% | 10%
Round-Trip Efficiency | 85% | 86% | 85%
Annual Degradation | 2.5% | 2.0% | 2.5%
Cycle Life | 6000 | 6500 | 6000
Cycles per Day | 1 | 1 | 1
Learning Rate | 12% | 10% | 11%
Tax Credits (BESS-Specific)
ITC Base Rate | 30% | 30% | 30%
ITC Adders | 0% | 0% | 10%
Infrastructure (Common)
Interconnection ($/kW) | 100 | 90 | 120
Land ($/kW) | 10 | 8 | 15
Permitting ($/kW) | 15 | 12 | 20
Insurance (% CapEx) | 0.5% | 0.5% | 0.5%
Property Tax (%) | 1.0% | 1.0% | 1.05%
Financing Structure
Debt Percentage | 60% | 55% | 65%
Interest Rate | 4.5% | 5.0% | 4.0%
Loan Term (years) | 15 | 15 | 20
Cost of Equity | 10% | 12% | 9.5%
Tax Rate | 21% | 21% | 21%
Calculated WACC | 6.5% | 7.5% | 6.0%
Benefits ($/kW-yr)
Resource Adequacy [common] | 150 | 140 | 180
Energy Arbitrage [common] | 40 | 45 | 35
Ancillary Services [common] | 15 | 12 | 10
T&D Deferral [common] | 25 | 20 | 25
Resilience Value [common] | 50 | 45 | 60
Renewable Integration [bess] | 25 | 20 | 30
GHG Emissions Value [bess] | 15 | 12 | 20
Voltage Support [common] | 8 | 6 | 10

## VBA_Code
VBA Macro Code & Setup Instructions
STEP-BY-STEP INSTRUCTIONS TO ENABLE MACROS
Step 1: | Save this workbook as a Macro-Enabled Workbook (.xlsm)
File > Save As > Choose 'Excel Macro-Enabled Workbook (*.xlsm)'
Step 2: | Open the VBA Editor
Press Alt + F11 (Windows) or Option + F11 (Mac)
Step 3: | Insert a new Module
Right-click on 'VBAProject' in the left panel > Insert > Module
Step 4: | Copy the VBA code below and paste it into the Module
Select all the code in the 'COMPLETE VBA CODE' section below
Step 5: | Close the VBA Editor (File > Close and Return to Microsoft Excel)
Step 6: | Create buttons on the Inputs sheet (optional)
Developer tab > Insert > Button (Form Control) > Draw button > Assign macro
Create buttons for: LoadNRELLibrary, LoadLazardLibrary, LoadCPUCLibrary
Step 7: | Save the workbook again to preserve the macros
COMPLETE VBA CODE - COPY ALL BELOW
Option Explicit
'=================================================================
' BESS ANALYZER VBA MACROS
' Copy this entire module into your VBA project
'
' CELL REFERENCE MAP (Inputs sheet):
' - Selected Library: C6
' - Capacity MW: C12, Duration: C13
' - Technology: C19 to C24
' - Costs: C26 to C32
' - ITC: C34, C35
' - Infrastructure: C37 to C41
' - Financing: C43 to C47
' - Benefits: C52:D59 (8 rows)
' - Learning Rate: C61
' - Bulk Discount: C64, C65
' - Reliability: C68 to C71
' - Safety: C74 to C77
' - Speed-to-Serve: C80 to C82
'=================================================================
Sub LoadNRELLibrary()
'-----------------------------------------------------------
' Loads NREL ATB 2024 Moderate assumptions
'-----------------------------------------------------------
With ThisWorkbook.Sheets("Inputs")
' Library name
.Range("C6").Value = "NREL ATB 2024 - Moderate"
' Technology Specifications
.Range("C19").Value = "LFP"
.Range("C20").Value = 0.85
.Range("C21").Value = 0.025
.Range("C22").Value = 6000
.Range("C23").Value = 12
.Range("C24").Value = 1
' Cost Inputs
.Range("C26").Value = 160
.Range("C27").Value = 25
.Range("C28").Value = 0
.Range("C29").Value = 55
.Range("C30").Value = 10
.Range("C31").Value = 30
.Range("C32").Value = 0.1
' Tax Credits
.Range("C34").Value = 0.3
.Range("C35").Value = 0
' Infrastructure Costs
.Range("C37").Value = 100
.Range("C38").Value = 10
.Range("C39").Value = 15
.Range("C40").Value = 0.005
.Range("C41").Value = 0.01
' Financing Structure
.Range("C43").Value = 0.6
.Range("C44").Value = 0.045
.Range("C45").Value = 15
.Range("C46").Value = 0.1
.Range("C47").Value = 0.21
' Benefits ($/kW-year and escalation)
.Range("C52").Value = 150: .Range("D52").Value = 0.02 ' Resource Adequacy
.Range("C53").Value = 40: .Range("D53").Value = 0.015 ' Energy Arbitrage
.Range("C54").Value = 15: .Range("D54").Value = 0.01 ' Ancillary Services
.Range("C55").Value = 25: .Range("D55").Value = 0.02 ' T&D Deferral
.Range("C56").Value = 50: .Range("D56").Value = 0.02 ' Resilience Value
.Range("C57").Value = 25: .Range("D57").Value = 0.02 ' Renewable Integration
.Range("C58").Value = 15: .Range("D58").Value = 0.03 ' GHG Emissions Value
.Range("C59").Value = 8: .Range("D59").Value = 0.01 ' Voltage Support
' Learning Curve
.Range("C61").Value = 0.12
' Bulk Discount (disabled by default)
.Range("C64").Value = 0
.Range("C65").Value = 0
' Special Benefits - Reliability (disabled by default)
.Range("C68").Value = "No"
.Range("C69").Value = 4
.Range("C70").Value = 10
.Range("C71").Value = 0.5
' Special Benefits - Safety (disabled)
.Range("C74").Value = "No"
.Range("C75").Value = 0.001
.Range("C76").Value = 500000
.Range("C77").Value = 0.25
' Special Benefits - Speed-to-Serve (disabled)
.Range("C80").Value = "No"
.Range("C81").Value = 24
.Range("C82").Value = 5
End With
Application.Calculate
MsgBox "NREL ATB 2024 Moderate assumptions loaded successfully.", vbInformation, "Library Loaded"
End Sub
Sub LoadLazardLibrary()
'-----------------------------------------------------------
' Loads Lazard LCOS v10.0 2025 assumptions
'-----------------------------------------------------------
With ThisWorkbook.Sheets("Inputs")
.Range("C6").Value = "Lazard LCOS 2025"
' Technology
.Range("C19").Value = "LFP"
.Range("C20").Value = 0.86
.Range("C21").Value = 0.02
.Range("C22").Value = 6500
.Range("C23").Value = 12
.Range("C24").Value = 1
' Costs
.Range("C26").Value = 145
.Range("C27").Value = 22
.Range("C28").Value = 0.5
.Range("C29").Value = 50
.Range("C30").Value = 8
.Range("C31").Value = 35
.Range("C32").Value = 0.1
' Tax Credits
.Range("C34").Value = 0.3
.Range("C35").Value = 0
' Infrastructure
.Range("C37").Value = 90
.Range("C38").Value = 8
.Range("C39").Value = 12
.Range("C40").Value = 0.005
.Range("C41").Value = 0.01
' Financing
.Range("C43").Value = 0.55
.Range("C44").Value = 0.05
.Range("C45").Value = 15
.Range("C46").Value = 0.12
.Range("C47").Value = 0.21
' Benefits
.Range("C52").Value = 140: .Range("D52").Value = 0.02
.Range("C53").Value = 45: .Range("D53").Value = 0.02
.Range("C54").Value = 12: .Range("D54").Value = 0.01
.Range("C55").Value = 20: .Range("D55").Value = 0.015
.Range("C56").Value = 45: .Range("D56").Value = 0.02
.Range("C57").Value = 20: .Range("D57").Value = 0.02
.Range("C58").Value = 12: .Range("D58").Value = 0.03
.Range("C59").Value = 6: .Range("D59").Value = 0.01
' Learning Curve
.Range("C61").Value = 0.1
' Bulk Discount (disabled by default)
.Range("C64").Value = 0
.Range("C65").Value = 0
' Special Benefits - Reliability (disabled by default)
.Range("C68").Value = "No"
.Range("C69").Value = 4
.Range("C70").Value = 8
.Range("C71").Value = 0.5
' Special Benefits - Safety (disabled)
.Range("C74").Value = "No"
.Range("C75").Value = 0.001
.Range("C76").Value = 500000
.Range("C77").Value = 0.25
' Special Benefits - Speed-to-Serve (disabled)
.Range("C80").Value = "No"
.Range("C81").Value = 24
.Range("C82").Value = 5
End With
Application.Calculate
MsgBox "Lazard LCOS 2025 assumptions loaded successfully.", vbInformation, "Library Loaded"
End Sub
Sub LoadCPUCLibrary()
'-----------------------------------------------------------
' Loads CPUC California 2024 assumptions
' Includes 10% ITC Energy Community Adder
'-----------------------------------------------------------
With ThisWorkbook.Sheets("Inputs")
.Range("C6").Value = "CPUC California 2024"
' Technology
.Range("C19").Value = "LFP"
.Range("C20").Value = 0.85
.Range("C21").Value = 0.025
.Range("C22").Value = 6000
.Range("C23").Value = 12
.Range("C24").Value = 1
' Costs
.Range("C26").Value = 155
.Range("C27").Value = 26
.Range("C28").Value = 0
.Range("C29").Value = 52
.Range("C30").Value = 12
.Range("C31").Value = 25
.Range("C32").Value = 0.1
' Tax Credits (includes Energy Community adder)
.Range("C34").Value = 0.3
.Range("C35").Value = 0.1 ' 10% Energy Community Adder
' Infrastructure (California-specific higher costs)
.Range("C37").Value = 120
.Range("C38").Value = 15
.Range("C39").Value = 20
.Range("C40").Value = 0.005
.Range("C41").Value = 0.0105 ' CA property tax rate
' Financing (IOU-style favorable terms)
.Range("C43").Value = 0.65
.Range("C44").Value = 0.04
.Range("C45").Value = 20
.Range("C46").Value = 0.095
.Range("C47").Value = 0.21
' Benefits (California premium values)
.Range("C52").Value = 180: .Range("D52").Value = 0.025 ' RA premium in CA
.Range("C53").Value = 35: .Range("D53").Value = 0.02
.Range("C54").Value = 10: .Range("D54").Value = 0.01
.Range("C55").Value = 25: .Range("D55").Value = 0.015
.Range("C56").Value = 60: .Range("D56").Value = 0.02 ' PSPS resilience value
.Range("C57").Value = 30: .Range("D57").Value = 0.025
.Range("C58").Value = 20: .Range("D58").Value = 0.03
.Range("C59").Value = 10: .Range("D59").Value = 0.01
' Learning Curve
.Range("C61").Value = 0.11
' Bulk Discount (disabled by default)
.Range("C64").Value = 0
.Range("C65").Value = 0
' Special Benefits - Reliability (ENABLED for California PSPS events)
.Range("C68").Value = "Yes"
.Range("C69").Value = 6
.Range("C70").Value = 12
.Range("C71").Value = 0.5
' Special Benefits - Safety (disabled)
.Range("C74").Value = "No"
.Range("C75").Value = 0.0005
.Range("C76").Value = 750000
.Range("C77").Value = 0.3
' Special Benefits - Speed-to-Serve (disabled)
.Range("C80").Value = "No"
.Range("C81").Value = 24
.Range("C82").Value = 6
End With
Application.Calculate
MsgBox "CPUC California 2024 assumptions loaded." & vbCrLf & _
"Note: Includes 10% ITC Energy Community Adder." & vbCrLf & _
"Reliability benefits enabled for PSPS events.", vbInformation, "Library Loaded"
End Sub
Sub GenerateReport()
'-----------------------------------------------------------
' Creates a summary report on a new "Report" sheet
'-----------------------------------------------------------
Dim wsReport As Worksheet
Dim wsResults As Worksheet
Dim wsInputs As Worksheet
Dim row As Long
Set wsResults = ThisWorkbook.Sheets("Results")
Set wsInputs = ThisWorkbook.Sheets("Inputs")
' Delete existing Report sheet if it exists
On Error Resume Next
Application.DisplayAlerts = False
ThisWorkbook.Sheets("Report").Delete
Application.DisplayAlerts = True
On Error GoTo 0
' Create new Report sheet
Set wsReport = ThisWorkbook.Sheets.Add(After:=ThisWorkbook.Sheets(ThisWorkbook.Sheets.Count))
wsReport.Name = "Report"
row = 2
wsReport.Cells(row, 2).Value = "BESS ECONOMIC ANALYSIS REPORT"
wsReport.Cells(row, 2).Font.Bold = True
wsReport.Cells(row, 2).Font.Size = 18
wsReport.Range("B" & row & ":F" & row).Merge
row = row + 2
' Project Summary
wsReport.Cells(row, 2).Value = "PROJECT SUMMARY"
wsReport.Cells(row, 2).Font.Bold = True
wsReport.Cells(row, 2).Interior.Color = RGB(227, 242, 253)
row = row + 1
wsReport.Cells(row, 2).Value = "Project:"
wsReport.Cells(row, 3).Value = wsInputs.Range("C9").Value
row = row + 1
wsReport.Cells(row, 2).Value = "Location:"
wsReport.Cells(row, 3).Value = wsInputs.Range("C11").Value
row = row + 1
wsReport.Cells(row, 2).Value = "Capacity:"
wsReport.Cells(row, 3).Value = wsInputs.Range("C12").Value & " MW / " & wsInputs.Range("C14").Value & " MWh"
row = row + 1
wsReport.Cells(row, 2).Value = "Assumptions:"
wsReport.Cells(row, 3).Value = wsInputs.Range("C6").Value
row = row + 2
' Key Metrics
wsReport.Cells(row, 2).Value = "KEY FINANCIAL METRICS"
wsReport.Cells(row, 2).Font.Bold = True
wsReport.Cells(row, 2).Interior.Color = RGB(227, 242, 253)
row = row + 1
wsReport.Cells(row, 2).Value = "Benefit-Cost Ratio (BCR):"
wsReport.Cells(row, 3).Value = wsResults.Range("C11").Value
wsReport.Cells(row, 3).NumberFormat = "0.00"
row = row + 1
wsReport.Cells(row, 2).Value = "Net Present Value (NPV):"
wsReport.Cells(row, 3).Value = wsResults.Range("C12").Value
wsReport.Cells(row, 3).NumberFormat = "$#,##0"
row = row + 1
wsReport.Cells(row, 2).Value = "Internal Rate of Return (IRR):"
wsReport.Cells(row, 3).Value = wsResults.Range("C13").Value
wsReport.Cells(row, 3).NumberFormat = "0.0%"
row = row + 1
wsReport.Cells(row, 2).Value = "Payback Period:"
wsReport.Cells(row, 3).Value = wsResults.Range("C14").Value
wsReport.Cells(row, 3).NumberFormat = "0.0 "" years"""
row = row + 2
' Recommendation
wsReport.Cells(row, 2).Value = "RECOMMENDATION"
wsReport.Cells(row, 2).Font.Bold = True
wsReport.Cells(row, 2).Interior.Color = RGB(227, 242, 253)
row = row + 1
' Color-code recommendation based on BCR
Dim bcr As Double
bcr = wsResults.Range("C11").Value
If bcr >= 1.5 Then
wsReport.Cells(row, 2).Value = "STRONG PROJECT - Proceed with development"
wsReport.Cells(row, 2).Font.Color = RGB(0, 128, 0)
ElseIf bcr >= 1 Then
wsReport.Cells(row, 2).Value = "MARGINAL PROJECT - Review assumptions carefully"
wsReport.Cells(row, 2).Font.Color = RGB(255, 165, 0)
Else
wsReport.Cells(row, 2).Value = "NOT RECOMMENDED - Costs exceed benefits"
wsReport.Cells(row, 2).Font.Color = RGB(255, 0, 0)
End If
wsReport.Cells(row, 2).Font.Bold = True
' Format columns
wsReport.Columns("B").ColumnWidth = 25
wsReport.Columns("C").ColumnWidth = 35
MsgBox "Report generated on 'Report' sheet.", vbInformation, "Report Ready"
End Sub
Sub ExportToPDF()
'-----------------------------------------------------------
' Exports the Report sheet to PDF
'-----------------------------------------------------------
Dim wsReport As Worksheet
Dim filePath As String
On Error Resume Next
Set wsReport = ThisWorkbook.Sheets("Report")
On Error GoTo 0
If wsReport Is Nothing Then
MsgBox "Please run 'Generate Report' first to create the Report sheet.", vbExclamation, "No Report Found"
Exit Sub
End If
filePath = Application.GetSaveAsFilename( _
InitialFileName:="BESS_Analysis_Report.pdf", _
FileFilter:="PDF Files (*.pdf), *.pdf", _
Title:="Save Report as PDF")
If filePath <> "False" Then
wsReport.ExportAsFixedFormat Type:=xlTypePDF, Filename:=filePath
MsgBox "PDF exported successfully to:" & vbCrLf & filePath, vbInformation, "Export Complete"
End If
End Sub
Sub RefreshCalculations()
'-----------------------------------------------------------
' Forces recalculation of all formulas
'-----------------------------------------------------------
Application.CalculateFull
MsgBox "All calculations refreshed.", vbInformation, "Refresh Complete"
End Sub
Sub ShowAbout()
'-----------------------------------------------------------
' Shows information about the BESS Analyzer
'-----------------------------------------------------------
MsgBox "BESS Economic Analyzer" & vbCrLf & vbCrLf & _
"Version: 1.0" & vbCrLf & _
"Libraries: NREL ATB 2024, Lazard LCOS 2025, CPUC CA 2024" & vbCrLf & vbCrLf & _
"This tool performs benefit-cost analysis for utility-scale" & vbCrLf & _
"battery energy storage systems (BESS) using industry-standard" & vbCrLf & _
"assumptions and methodologies.", vbInformation, "About BESS Analyzer"
End Sub
AVAILABLE MACROS - QUICK REFERENCE
LoadNRELLibrary | Loads NREL Annual Technology Baseline 2024 (Moderate) assumptions
LoadLazardLibrary | Loads Lazard Levelized Cost of Storage v10.0 (2025) assumptions
LoadCPUCLibrary | Loads CPUC California 2024 assumptions with 10% ITC Energy Community Adder
GenerateReport | Creates a summary report on a new 'Report' sheet
ExportToPDF | Exports the Report sheet to a PDF file
RefreshCalculations | Forces full recalculation of all workbook formulas
ShowAbout | Displays information about the BESS Analyzer
CELL REFERENCE MAP (Inputs Sheet)
Selected Library | C6
Capacity (MW) | C12
Duration (hours) | C13
Energy Capacity (MWh) | C14
Analysis Period | C15
Discount Rate | C16
Chemistry | C19
Round-Trip Efficiency | C20
Cycles per Day | C24
CapEx ($/kWh) | C26
Fixed O&M | C27
ITC Base Rate | C34
ITC Adders | C35
Interconnection | C37
Debt Percentage | C43
Benefits Start Row | C52
Benefits End Row | C59
Learning Rate | C61
Bulk Discount Rate | C64
Bulk Discount Threshold | C65
Reliability Enabled | C68
Outage Hours | C69
Customer Cost ($/kWh) | C70
Backup Capacity % | C71
Safety Enabled | C74
Incident Probability | C75
Incident Cost | C76
Risk Reduction | C77
Speed Enabled | C80
Months Saved | C81
Value per kW-Month | C82
TROUBLESHOOTING
• If buttons don't work: Make sure you saved as .xlsm and macros are enabled
• If macros are disabled: Go to File > Options > Trust Center > Trust Center Settings > Macro Settings
• If cell references are wrong: Check the Cell Reference Map above
• To edit macros: Press Alt+F11 to open VBA Editor, then modify the code in the Module
• To assign macros to buttons: Right-click button > Assign Macro > Select from list